{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["様式第１号"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"様式第１号","index":0,"n_rows":44,"n_cols":25,"rows_kept":44,"cut":false,"hidden":false,"merged":[[40,19,40,23],[35,19,35,23],[36,19,36,23],[27,9,27,11],[28,9,28,11],[15,13,15,24],[27,23,27,24],[29,0,29,24],[24,21,24,23],[25,0,25,24],[26,0,26,1],[26,2,26,7],[26,8,26,24],[24,0,24,4],[24,6,24,8],[24,10,24,12],[24,13,24,15],[24,16,24,17],[24,18,24,20],[22,21,22,23],[23,0,23,4],[9,13,9,24],[18,6,18,24],[11,13,11,24],[14,13,14,24],[8,13,8,24],[7,13,7,24],[10,13,10,24],[12,13,12,24],[13,13,13,24],[35,0,39,0],[30,13,30,23],[31,21,31,23],[31,16,31,18],[37,7,37,14],[37,15,37,18],[38,1,38,6],[38,7,38,14],[38,15,38,18],[35,1,35,6],[35,7,35,14],[35,15,35,18],[36,15,36,18],[33,0,33,24],[37,19,37,23],[38,19,38,23],[39,19,39,23],[43,0,44,15],[43,16,44,17],[43,18,44,24],[40,0,40,18],[0,0,0,24],[1,0,1,24],[47,0,47,24],[30,0,30,2],[30,3,30,4],[41,0,42,2],[41,3,41,24],[42,3,42,24],[39,1,39,6],[39,7,39,14],[39,15,39,18],[37,1,37,6],[34,1,34,6],[34,7,34,14],[34,15,34,18],[34,19,34,24],[30,6,30,8],[30,9,30,10],[36,1,36,6],[36,7,36,14],[28,0,28,1],[28,2,28,7],[28,12,28,16],[28,17,28,22],[28,23,28,24],[27,0,27,1],[27,2,27,7],[27,12,27,16],[27,17,27,22],[23,6,23,8],[23,10,23,12],[23,13,23,15],[23,16,23,17],[23,18,23,20],[23,21,23,23],[22,0,22,4],[22,6,22,8],[22,10,22,12],[22,13,22,15],[22,16,22,17],[22,18,22,20],[20,0,20,24],[21,0,21,4],[21,6,21,8],[21,10,21,12],[21,13,21,15],[21,16,21,17],[21,18,21,20],[21,21,21,23],[18,0,18,3],[19,0,19,3],[19,11,19,13],[19,14,19,24],[19,9,19,10],[19,5,19,8]]}
["様式第１号（第７条関係）"]
["雨水流出抑制施設設置計画書"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"令和",null,"年",null,"月",null,"日"]
["多治見市長"]
[]
[null,null,null,null,null,null,null,"開発事業者"]
[null,null,null,null,null,null,null,null,"住　所（所在地）"]
[null,null,null,null,null,null,null,null,"氏　名（名称及び代表者氏名）　　　　　　　　　　　　　"]
[null,null,null,null,null,null,null,null,"　　　　　（名称及び代表者氏名）　　　　　　　　　　　　　"]
[null,null,null,null,null,null,null,null,"連絡先"]
[null,null,null,null,null,null,null,"代理人"]
[null,null,null,null,null,null,null,null,"住　所"]
[null,null,null,null,null,null,null,null,"氏　名（名称及び代表者氏名）　　　　　　　　　　　　　　　　　　　　　　　　"]
[null,null,null,null,null,null,null,null,"　　　　　（名称及び代表者氏名）　　　　　　　　　　　　　　　　　　　　　　　　"]
[null,null,null,null,null,null,null,null,"連絡先"]
[]
[null,"以下のとおり、雨水流出抑制施設を設置します。"]
["設置場所",null,null,null,"多治見市"]
["開発面積",null,null,null,null,null,null,null,null,"㎡",null,"工　期",null,null,"令和　　年　　月　　日　～　令和　　年　　月　　日"]
[]
["工　　　　　種",null,null,null,null,"屋根","道路（舗装した駐車場を含む。）",null,null,"その他の不透面（田を含む。）","水面",null,null,"間地（畑を含む。）",null,null,"芝・樹木の多い平地",null,"勾配の緩い山地",null,null,"勾配の急な山地",null,null,"計"]
["流出係数",null,null,null,null,0.9,0.85,null,null,0.8,1,null,null,0.2,null,null,0.15,null,0.3,null,null,0.5]
["開発前土地利用状況(㎡)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(F24:X24)","v":0}]
["開発後土地利用計画(㎡)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(F25:X25)","v":0}]
[]
[null,null,"総括流出係数",null,null,null,null,null,"流出量＝1/360×総括流出係数×142mm/h×Ａ（ha）"]
["開発前",null,{"$f":"(F23*F24+G23*G24+J23*J24+K23*K24+N23*N24+Q23*Q24+S23*S24+V23*V24)/Y24","v":{"$error":"#DIV/0!"}},null,null,null,null,null,"Q2＝",{"$f":"ROUND(C28*142*Y24/10000/360,4)","v":{"$error":"#DIV/0!"}},null,null,"対策量① (㎥)",null,null,null,null,"(Q1-Q2)×60×60＝",null,null,null,null,null,{"$f":"(J29-J28)*60*60","v":{"$error":"#DIV/0!"}}]
["開発後",null,{"$f":"(F23*F25+G23*G25+J23*J25+K23*K25+N23*N25+Q23*Q25+S23*S25+V23*V25)/Y25","v":{"$error":"#DIV/0!"}},null,null,null,null,null,"Q1＝",{"$f":"ROUND(C29*142*Y25/10000/360,4)","v":{"$error":"#DIV/0!"}},null,null,"対策量② (㎥)",null,null,null,null,"270×Ａ ＝",null,null,null,null,null,{"$f":"270*Y25/10000","v":0}]
[]
["対策量①",null,null,{"$f":"X28","v":{"$error":"#DIV/0!"}},null,"㎥","対策量②",null,null,{"$f":"X29","v":0},null,"㎥",null,"対策量の多い方を必要対策量とする"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"∴","必要対策量",null,null,null,"＝",{"$f":"MAX(D31,J31)","v":{"$error":"#DIV/0!"}},null,null,"㎥以上"]
[]
["工　事　の　概　要"]
[null,"施設の名称",null,null,null,null,null,"形状寸法",null,null,null,null,null,null,null,"数　量",null,null,null,"対策量"]
["雨水貯留施設",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"㎥"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"㎥"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"㎥"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"㎥"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"㎥"]
["合計（＝実施対策量）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"SUM(T36:X40)","v":0},null,null,null,null,"㎥"]
["添付図書",null,null,"①位置図(縮尺1/10,000以上)　②計画平面図(縮尺1/1,000以上)　③構造図"]
[null,null,null,"④対策量の計算根拠　⑤その他（　　　　　　　　）"]
["※印の欄には、記入しないでください。",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※受付番号"]